## CABLE LIST
ALL LISTED CABLES HAVE TO BE SUPPIED BY NMTP
CABLE TYPE | CONDUCTORS/CROSS-SECTION | AMOUNT [m] | MANUFACTURER | ORDER NUMBER
2YSLCYK-J BK | 4x6 mm² | 100 | VARIOUS | 2YSLCYK-J BK 4G6
2YSLCYK-J BK | 4x25 mm² | 50 | VARIOUS | 2YSLCYK-J BK 4G25
2YSLCYK-J BK | 4x35 mm² | 100 | VARIOUS | 2YSLCYK-J BK 4G35
2YSLCYK-J BK | 4x50 mm² | 50 | VARIOUS | 2YSLCYK-J BK 4G50
2YSLCYK-J BK | 4x70 mm² | 100 | VARIOUS | 2YSLCYK-J BK 4G70
2YSLCYK-J BK | 4x95 mm² | 500 | VARIOUS | 2YSLCYK-J BK 4G95
2YSLCYK-J BK | 4x120 mm² | 500 | VARIOUS | 2YSLCYK-J BK 4G120
2YSLCYK-J BK | 4x150 mm² | 400 | VARIOUS | 2YSLCYK-J BK 4G150
2YSLCYK-J BK | 4x240 mm² | 100 | VARIOUS | 2YSLCYK-J BK 4G240
FESTOON FIBERFLEX PUR-HF | 12x62,5/125 µm | 400 | TKD | 2003118
FESTOON FIBERFLEX PUR-HF | 12x9/125 µm | 300 | TKD | 3003020
FESTOONFLEX C-PUR-HF-J | 4x2x1 mm² | 50 | TKD | 3003012
FESTOONFLEX C-PUR-HF-O | 1x70 mm² | 200 | TKD | 3002236
FESTOONFLEX C-PUR-HF-O | 1x120 mm² | 1800 | TKD | 3002243
FESTOONFLEX PUR-HF-J | 3x1,5 mm² | 1900 | TKD | 3003229
FESTOONFLEX PUR-HF-J | 4x1,5 mm² | 200 | TKD | 3002231
FESTOONFLEX PUR-HF-J | 7x1,5 mm² | 200 | TKD | 3002181
FESTOONFLEX PUR-HF-J | 12x1,5 mm² | 50 | TKD | 3002182
FESTOONFLEX PUR-HF-J | 24x1,5 mm² | 100 | TKD | 3002184
FESTOONFLEX PUR-HF-J | 3x2,5 mm² | 600 | TKD | 3002222
FESTOONFLEX PUR-HF-J | 4x2,5 mm² | 1000 | TKD | 3002223
FESTOONFLEX PUR-HF-J | 5x2,5 mm² | 200 | TKD | 3002186
FESTOONFLEX PUR-HF-J | 7x2,5 mm² | 200 | TKD | 3002187
FESTOONFLEX PUR-HF-J | 4x4 mm² | 200 | TKD | 3002191
FESTOONFLEX PUR-HF-J | 5x6 mm² | 100 | TKD | 3002194
FESTOONFLEX PUR-HF-J | 4x10 mm² | 200 | TKD | 3002195
FESTOONFLEX PUR-HF-J | 4x50 mm² | 200 | TKD | 3002203
FESTOONFLEX PUR-HF-O | 1x35 mm² | 50 | TKD | 3002240
FESTOONFLEX PUR-HF-O | 1x120 mm² | 300 | TKD | 3002206
H07 V-K GNYE | 1x35 mm² | 300 | VARIOUS | H07 V-K GNYE 1G35
Li2YCYv | 1x2x0,5 mm² | 1400 | VARIOUS | Li2YCYv 1x2x0,5mm²
Li2YCYv | 2x2x0,5 mm² | 3100 | VARIOUS | Li2YCYv 2x2x0,5mm²
Li2YCYv | 4x2x0,5 mm² | 800 | VARIOUS | Li2YCYv 4x2x0,5mm²
N2XSEY | 4x25/16 mm² | 400 | VARIOUS | N2XSEY 3x25/16mm²
N2XSEY | 4x35/16 mm² | 50 | VARIOUS | N2XSEY 3x25/16mm²
NSSHÖU-J | 3x1,5 mm² | 300 | VARIOUS | NSSHÖU-J 3G1.5mm²
NSSHÖU-J | 4x2,5 mm² | 100 | VARIOUS | NSSHÖU-J 4G2.5mm²
NSSHÖU-J | 4x4 mm² | 200 | VARIOUS | NSSHÖU-J 4G4mm²
NYCWY | 4x120/70 mm² | 700 | VARIOUS | NYCWY 4x120/70mm²
NYY-J | 3x1,5 mm² | 6700 | VARIOUS | NYY-J 3G1.5mm²
NYY-J | 4x1,5 mm² | 2300 | VARIOUS | NYY-J 4G1,5mm²
NYY-J | 5x1,5 mm² | 700 | VARIOUS | NYY-J 5G1.5mm²
NYY-J | 7x1,5 mm² | 1500 | VARIOUS | NYY-J 7G1.5mm²
NYY-J | 12x1,5 mm² | 1400 | VARIOUS | NYY-J 12G1.5mm²
NYY-J | 19x1,5 mm² | 100 | VARIOUS | NYY-J 19G1.5mm²
NYY-J | 24x1,5 mm² | 1100 | VARIOUS | NYY-J 24G1.5mm²
NYY-J | 3x2,5 mm² | 190 | VARIOUS | NYY-J 3G2.5mm²
NYY-J | 4x2,5 mm² | 4100 | VARIOUS | NYY-J 4G2,5mm²
NYY-J | 5x2,5 mm² | 1100 | VARIOUS | NYY-J 5G2.5mm²
NYY-J | 7x2,5 mm² | 1000 | VARIOUS | NYY-J 7G2.5mm²
NYY-J | 12x2,5 mm² | 300 | VARIOUS | NYY-J 12G2.5mm²
NYY-J | 4x4 mm² | 200 | VARIOUS | NYY-J 4G4mm²
NYY-J | 4x6 mm² | 50 | VARIOUS | NYY-J 4G6mm²
NYY-J | 5x6 mm² | 400 | VARIOUS | NYY-J 5G6mm²
NYY-J | 4x10 mm² | 700 | VARIOUS | NYY-J 4G10mm²
NYY-J | 5x10 mm² | 50 | VARIOUS | NYY-J 5G10mm²
NYY-J | 4x16 mm² | 50 | VARIOUS | NYY-J 4G16mm²
NYY-J | 4x35 mm² | 300 | VARIOUS | NYY-J 4G35mm²
NYY-J | 4x50 mm² | 200 | VARIOUS | NYY-J 4G50mm²
NYY-J | 4x70 mm² | 50 | VARIOUS | NYY-J 4G70mm²
NYY-J | 4x95 mm² | 100 | VARIOUS | NYY-J 4G95mm²
NYY-J | 4x120/70 mm² | 50 | VARIOUS | NYY-J 3G120/70mm²
NYY-J | 1x150 mm² | 100 | VARIOUS | NYY-J 1G150mm²
NYY-J | 1x185 mm² | 900 | VARIOUS | NYY-J 1G185mm²
NYY-J | 4x185/95 mm² | 50 | VARIOUS | NYY-J 3G185/95mm²
NYY-O | 1x150 mm² | 500 | VARIOUS | NYY-O 1X150mm²
NYY-O | 1x185 mm² | 4900 | VARIOUS | NYY-O 1X185mm²
ÖPVC-JZ BK | 3x1,5 mm² | 8000 | TKD | 1000537
ÖPVC-JZ BK | 4x1,5 mm² | 800 | TKD | 1000560
ÖPVC-JZ BK | 5x1,5 mm² | 5900 | TKD | 1000588
ÖPVC-JZ BK | 7x1,5 mm² | 50 | TKD | 1000620
ÖPVC-JZ BK | 12x1,5 mm² | 100 | TKD | 1000462
ÖPVC-JZ BK | 18x1,5 mm² | 100 | TKD | 1002799
ÖPVC-JZ BK | 25x1,5 mm² | 100 | TKD | 1001977
ÖPVC-JZ BK | 5x2,5 mm² | 2200 | TKD | 1000594
ÖPVC-JZ BK | 5x2,5 mm² | 4000 | TKD | 1000594
PROFIBUS DP Burial | 2x0,64 mm | 300 | TKD | 2003637
PROFIBUS DP Festoon | 2x0,64 mm | 300 | TKD | 2003656
PROFINET Standard Cat. 5e | 2x2x22 AWG | 200 | TKD | 2003719
PROFINET SK-PUR | 4x22 AWG | 50 | TKD | PROFINET SK-PUR FC FR cUL 4XAWG22/19